## WIP Transaction Report
Complaint No | Customer ID | Customer Name | Complaint Description | Complaint Type | Equipment Type | Priority Type | Complaint Date | Assigned Date | WIPDate Time | WIPAge | Close Date | Vendor Name | Resolution Type | Complaint Age | PORelease Date | PORelease Age | Material Delivery Date | MTDAge | Work Closer Date | Comment Date | Comments | WIP Vendor Enginner log Date | WEAge
MAFIL_304539 | 3480 | KINWAT NANDED | Not in network (Ref-MAFIL_302007) Router notworking(IN108514) BH343746 506279071810 | Entrance Camera Not In network | CCTV | Class B | 2022-07-18 12:14 | 2022-07-18 12:15 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | Network Issue | 123
MAFIL_315563 | 942 | KUVEMPU NAGAR CHENNAPATNA | inside water going in smoke sensor not able to activate continuosly light blinking not getting off. water seepage need to change Smoke sensor WIp change date -12-08-2022 | Smoke Sensor Not Working | Alarm Panel | Class B | 2022-08-04 17:18 | 2022-08-05 17:16 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | Civil Maintenance | 104
MAFIL_318728 | 3486 | MODEL TOWN,PANIPAT | Alarm panel not in network // Open BY | Alarm Panel Not In network | Alarm Panel | Class A | 2022-08-10 14:10 | 2022-08-10 14:54 |  |  |  | Techsis Ltd | Renovation/Shifting | 100
MAFIL_326303 | 1881 | GOSHAMAHAL CENTER | Building demolishing ¦ Need to change camera position ¦ Cabling needed\5570290824 due to building renovation \branch front walls crashed so unable to fix cam4 bh confirmed BH 356707\bh mail shared | OutSide Camera Position Issue | CCTV | Class B | 2022-08-22 14:54 | 2022-08-22 16:14 |  |  |  | Enseigner Pvt Ltd | Civil Maintenance | 88
MAFIL_329800 | 2949 | KALLUVATHIKKAL | Due to civil maintenance branch 2 panic switch removed by electrician 03 disabled BH-45872 | Panic Switches Not Working | Alarm Panel | Class B | 2022-08-29 11:31 | 2022-08-29 16:38 |  |  |  | MX Electronics Pvt Ltd | Civil Maintenance | 81
MAFIL_333293 | 1148 | EVES CROSSING | NVR Monitor Power Failure// branch renovation | Monitor Power Failure | NVR | Class B | 2022-09-03 15:42 | 2022-09-05 17:34 |  |  |  | Techsis Ltd | Renovation/Shifting | 74
MAFIL_335197 | 2555 | CIVIL LINES-ALLAHABAD | fault03-zone03 disabled\branch under renovation comfirmed with BH 346533 | Panic Switch Wired Cash Cabin Not Working | Alarm Panel | Class B | 2022-09-06 10:16 | 2022-09-07 12:49 |  |  |  | Techsis Ltd | Renovation/Shifting | 71
MAFIL_337426 | 2588 | GOVIND NAGAR- KANPUR | alarm panel not in network\\tech visited branch renovation not completed conformation ID:514635100952 service report attached | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-10 16:05 | 2022-09-12 10:59 |  |  |  | Techsis Ltd | Renovation/Shifting | 68 | [7 empty] | 2022-09-10 16:08
MAFIL_338438 | 1887 | DURGAPURI CHOWK DELHI | Alarm Panel Not In network renovation branch | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-12 14:25 | 2022-09-12 14:27 |  |  |  | Techsis Ltd | Renovation/Shifting | 67
MAFIL_339400 | 275 | ARUNDALPET | fault 03-zone 03 disabled Renovation\\BH349556 506279092806 | Wireless Panic Switch BH Not Working | Alarm Panel | Class B | 2022-09-13 11:37 | 2022-09-14 17:11 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 64
MAFIL_339424 | 2204 | BHAJANPURA DELHI | Alarm panle not in network\\ Open by renovation branch | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-13 14:06 | 2022-09-15 09:00 |  |  |  | Techsis Ltd | Renovation/Shifting | 64
MAFIL_339425 | 1727 | BABA SHYAM SINGH COLONY | Entrance Camera Position Issue need to change camera position | Entrance Camera Position Issue | CCTV | Class B | 2022-09-13 14:07 | 2022-09-13 14:08 |  |  |  | Techsis Ltd | Renovation/Shifting | 65 | 2022-09-19 10:39 | 5
MAFIL_341652 | 356 | TRUNK ROAD-ONGLOE | alarmpanel not in network//branch renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-16 16:24 | 2022-09-16 16:34 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 62
MAFIL_341683 | 1248 | BARUIPUR | panel project phase 2\\Zone 17&18 notused Need new battery date of attend 22.9.2022 | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-09-17 09:26 | 2022-09-19 17:49 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 60 | 2022-11-17 14:17
MAFIL_341706 | 517 | NEW BOWNPALLI | Center camera position issue Need 30 meter cable to change position ¦ L shape branch ¦ Attended on 30.09.2022 ¦ SR Attached ¦ Discussed with manikandan 515739093032 ¦ Outside camera should be in AMC | Center Camera Position Issue | CCTV | Class B | 2022-09-17 10:55 | 2022-09-17 17:55 |  |  |  | Enseigner Pvt Ltd | WIP request from Vendor Engineer | 61
MAFIL_341755 | 155 | SUBEDARPET NELLORE | Alarm Panel Not In network//renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-17 15:43 | 2022-09-17 15:45 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 61
MAFIL_341764 | 858 | NANGLOI MARKET | Alarm Panel Not In network//renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-17 16:25 | 2022-09-17 16:27 |  |  |  | Techsis Ltd | Renovation/Shifting | 61
MAFIL_341767 | 892 | PADAMSINGH ROAD KAROLBAGH | Alarm Panel Not In network/renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-17 16:35 | 2022-09-17 16:37 |  |  |  | Techsis Ltd | Renovation/Shifting | 61
MAFIL_341795 | 2333 | VISHWAS NAGAR DELHI | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-19 11:33 | 2022-09-19 11:34 |  |  |  | Techsis Ltd | Renovation/Shifting | 61
MAFIL_342858 | 178 | VARKALA | pir sencer not installed outside safe\verified by BH 303876 vendor attend date29-09-22 | PIR Sensor Outsid safe room is not Working | Alarm Panel | Class A | 2022-09-20 14:04 | 2022-09-20 17:38 |  |  |  | MX Electronics Pvt Ltd | PO Released | 59 | 2022-10-19 09:40
MAFIL_343968 | 429 | PUNALUR | need change position\infront cam have box | Center Camera Position Issue | CCTV | Class B | 2022-09-22 03:15 | 2022-09-22 17:25 |  |  |  | MX Electronics Pvt Ltd | PO Released | 56 | 2022-10-19 09:44 | 15
MAFIL_344112 | 1053 | BEHALA SEHKHER BAZAR | Wireless Panic Switch Guard Not Working | Wireless Panic Switch Guard Not Working | Alarm Panel | Class B | 2022-09-22 23:29 | 2022-09-23 15:51 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 55 | 2022-10-21 09:42 | 14
MAFIL_346196 | 432 | MANGALAM DAM | fault-3 // Zone 3 Disasbled Renovation Renovation started 24-09-2022 CLOSURE-342836012909 | Panic Switches Not Working | Alarm Panel | Class B | 2022-09-26 12:00 | 2022-09-26 17:58 |  |  |  | MX Electronics Pvt Ltd | Renovation/Shifting | 53 | [5 empty] | 2022-09-29 09:44 | Renovation Renovation started 24-09-2022 CLOSURE-342836012909
MAFIL_346386 | 3596 | LAHERIA TOLA ROAD GAYA | panel project phase 2\\zone 17\18 disabled\\ Zone 18 need new device ¦ physical damage SR, Explanation letter attached ¦ 515739102142 | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-09-27 18:22 | 2022-09-28 15:15 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 50 | 2022-11-08 10:01 | 0
MAFIL_347370 | 2349 | MADAVARAM HIGH ROAD | OutSide Camera Not In network 513507071008 WIP from vendor request //BH366061 / Outside camera cable damage / need 18 meter cable | OutSide Camera Not In network | CCTV | Class B | 2022-09-28 05:49 | 2022-09-29 09:28 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 50
MAFIL_347462 | 2211 | MAIN MARKET GADWALL | Alarm Panel NOt inn network work panel short circuited due to ups issue | Alarm Panel Not In network | Alarm Panel | Class A | 2022-09-28 15:33 | 2022-09-29 09:41 | 2022-11-09 10:07 |  |  | Enseigner Pvt Ltd | Purchase order need to be Released | 50
MAFIL_348351 | 482 | GARIA MORE | Entrance Camera Not In network//engineer visit date-04/10/2022 | Entrance Camera Not In network | CCTV | Class B | 2022-09-29 00:48 | 2022-09-30 09:36 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 49 | 2022-11-08 10:04
MAFIL_348420 | 390 | PALLIKKARA | Need to change the Keypad position//date of attend 30-09-2022 | Keypad Not Working | Alarm Panel | Class B | 2022-09-29 12:48 | 2022-09-29 16:28 |  |  |  | MX Electronics Pvt Ltd | PO Released | 49 | 2022-11-08 09:56
MAFIL_348421 | 2063 | ATCHUTAPURAM | FAULT03/ZONEO3 DISABLED/BH-349905 renovation electrical work is going | Panic Switch Wired BH Cabin Not Working | Alarm Panel | Class B | 2022-09-29 12:52 | 2022-09-29 15:47 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 49
MAFIL_348575 | 3861 | SUNABEDA | Wireless Panic Switch Guard Not Working . zone 18 disabled\\bh 353734 \\ Conf ID:514635311013 - wireless panic switch physically damaged complaint changed in to wip request from vendor | Wireless Panic Switch Guard Not Working | Alarm Panel | Class B | 2022-09-30 10:08 | 2022-10-01 12:55 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 47
MAFIL_349585 | 3698 | GOPALGANJ | Panel project phase 2 ¦ shutter sensor not working ¦ Zone 08 disabled,Centre camera not working,safe camera not working,wireless panic switch not working,panic switches not working | Shutter Sensor Not Working | Alarm Panel | Class A | 2022-10-01 10:26 | 2022-10-01 14:42 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 47
MAFIL_349605 | 554 | BORABANDA | Alarm Panel Not In network 5570061009 356104 BH BRANCH have network issue complaint ID IN128723 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-01 11:58 | 2022-10-01 14:34 |  |  |  | Enseigner Pvt Ltd | Network Issue | 47
MAFIL_349618 | 3722 | BEGSARAI | panel project phase 2\\ Zone 8 Not used\\shutter sensor missing \\photo & explanation mail shared \\BH 333247\\\5570151021 | Shutter Sensor Not Working | Alarm Panel | Class A | 2022-10-01 13:02 | 2022-10-01 14:29 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 47
MAFIL_349651 | 815 | BARKATPURA | INSIDE SAFE DOOR MAGNATIC SENSOR NOT WORKING 513507071009 WIP from vendor request //BH356686// new magnetic sensor installation / 10 meter cable and magnetic sensor need//date of attend 07-10-2022 | Magnetic Sensor Not Working | Alarm Panel | Class A | 2022-10-01 14:55 | 2022-10-03 10:17 |  |  |  | Enseigner Pvt Ltd | Purchase order need to be Released | 47
MAFIL_350730 | 678 | ONE TOWN | Center Camera Position Issue\\view not clear\\need to check night view\\5570131013 need to changed cam position need more cables and wires | Center Camera Position Issue | CCTV | Class B | 2022-10-04 01:22 | 2022-10-04 14:21 |  |  |  | Enseigner Pvt Ltd | WIP request from Vendor Engineer | 44
MAFIL_350732 | 1480 | R K NAGAR ANANTHAPUR | Center Camera Position Issue | Center Camera Position Issue | CCTV | Class B | 2022-10-04 01:33 | 2022-10-04 14:28 |  |  |  | Enseigner Pvt Ltd | Purchase order need to be Released | 44 | [7 empty] | 2022-10-28 15:00 | 0
MAFIL_352796 | 3103 | VENJARAMOODU | BH328016¦Fault3, zone3 disabled | Panic Switches Not Working | Alarm Panel | Class B | 2022-10-06 10:04 | 2022-10-06 17:24 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 42
MAFIL_352896 | 1315 | VENGARA | nvr not in network NVR LAN CABLE PORT ISSUE IN 130877 | NVR Not In network | NVR | Class B | 2022-10-07 10:31 | 2022-10-07 16:53 |  |  |  | MX Electronics Pvt Ltd | Network Issue | 41
MAFIL_352911 | 3472 | INDRA CHOWK-BUDAUN | Entrance cam position issue | Entrance Camera Position Issue | CCTV | Class B | 2022-10-07 11:12 | 2022-10-07 17:18 |  |  |  | Techsis Ltd | PO Released | 41 | 2022-11-08 09:59 | 19
MAFIL_353994 | 3598 | BODHGAYA | wireless panic switch not working ¦ Component physical damage ¦ SR & Explanation Attached ¦ BH 366757 515739100827 | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-08 13:13 | 2022-10-08 16:32 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 40 | 2022-11-08 10:02 | 0
MAFIL_355981 | 1281 | RANAGHAT | panel project phase 2 \\zone 17 and 18 battery need to replace | Wireless Panic Switch Guard Not Working | Alarm Panel | Class B | 2022-10-11 10:59 | 2022-10-12 10:38 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 37 | 2022-11-08 10:13 | 10 | [5 empty] | 2022-10-28 16:07 | 0
MAFIL_356007 | 3692 | MUZAFFARPUR | NVR not in network,Panic switch Cabling(Zone-4,5 disabled) | NVR Not In network | NVR | Class B | 2022-10-11 12:35 | 2022-10-12 16:41 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 36
MAFIL_356101 | 179 | MADHAVARAM HIGH ROAD PERAMBUR | Zone 3 Disabled due to fault 3 \\ panic switch damaged. need to replace new one. BH 371309 | Panic Switches Not Working | Alarm Panel | Class B | 2022-10-12 11:24 | 2022-10-13 08:44 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 36
MAFIL_356143 | 452 | VALAPATTANAM | Safe Camera SD Card Failure//renovation damage attend date-12/10/2022 | Safe Camera SD Card Failure | CCTV | Class A | 2022-10-12 14:12 | 2022-10-13 08:47 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 36
MAFIL_356151 | 256 | TADEPALLIGUDAM | renovation branch all work complaint only IT and esecurity installation work pending | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-12 14:36 | 2022-10-12 14:52 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 37
MAFIL_356159 | 415 | NUZVID | renovation branch IT And esecurity device installation work pending | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-12 14:48 | 2022-10-12 14:54 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 37
MAFIL_356160 | 515 | ALANALLUR | renovation branch IT and esecurity installation work pending | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-12 14:50 | 2022-10-12 14:55 |  |  |  | MX Electronics Pvt Ltd | Renovation/Shifting | 37
MAFIL_356161 | 1672 | NARASIPATNAM | Cant find appropriate deivce renonovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-12 14:54 | 2022-10-12 17:02 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 37
MAFIL_357153 | 1079 | LAL DARWAJA AHMEDABAD | NVR NOT WORKING date of attend-17-10-22 | NVR Not In network | NVR | Class B | 2022-10-13 11:13 | 2022-10-14 18:00 |  |  |  | Techsis Ltd | Purchase order need to be Released | 34
MAFIL_357156 | 1328 | AARAMBAG | panel project phase 2\\ Zone 17 Not used Need new battery | Wireless Panic Switch BH Not Working | Alarm Panel | Class B | 2022-10-13 11:25 | 2022-10-14 16:35 | 2022-11-03 11:59 |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 34 | 2022-11-08 10:15 | 4
MAFIL_357171 | 3285 | VISHWESHWAR GUNJ | nvr monitor display damaged \BH 336005\photos mailed | Monitor Display Not Clear | NVR | Class B | 2022-10-13 12:05 | 2022-10-14 17:11 |  |  |  | Techsis Ltd | PO Released | 34 | 2022-11-08 10:05 | 23 | [5 empty] | 2022-10-13 12:05
MAFIL_357227 | 119 | GOVERNERPET ELURU | Not in network Rennovation BH370482 506279101703 | Center Camera Not In network | CCTV | Class B | 2022-10-14 01:27 | 2022-10-15 16:36 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 33 | [7 empty] | 2022-10-17 15:18
MAFIL_357232 | 1801 | BHARANIKAVU | fault 04\\zone 04 & 5 disabled\\ | Wireless Panic Switch BH Not Working | Alarm Panel | Class B | 2022-10-14 08:23 | 2022-10-14 16:45 | 2022-11-12 16:42 |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 34
MAFIL_357234 | 1263 | KOTTA JUNCTION | Wireless Panic Switches Not Working Panel project phase 2 // zone 17& 18 battery need to change Physicall damage ¦ SR, Explanation letter attached BH356158 506279101707 | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-14 09:33 | 2022-10-14 09:33 |  |  |  | Techsis Ltd | PO Released | 35 | 2022-11-08 10:11 | 17
MAFIL_357239 | 1222 | HIMMATH NAGAR AHMEDABAD | wireless panic switch of range//attend date 20/10/2022 | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-14 10:08 | 2022-10-17 12:23 |  |  |  | Techsis Ltd | Purchase order need to be Released | 32
MAFIL_357243 | 3727 | TINSUKIA | panel project phase 2\\ Zone 18 Not used | Wireless Panic Switch BH Not Working | Alarm Panel | Class B | 2022-10-14 10:28 | 2022-10-14 14:56 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 34 | 2022-11-08 10:04 | 11
MAFIL_357260 | 2655 | SIRA MAIN ROAD | NVR Monitor Not working\\BH 349181\\VERIFIED BH349181 damage due to short circuit 506279102702 | NVR moniter brightness issue | NVR | Class B | 2022-10-14 11:34 | 2022-10-14 15:52 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 34 | 2022-11-08 10:04 | 11
MAFIL_358313 | 4 | TRIPRAYAR | need to changed position\\\ only seen grill view \\BH 344309 | Entrance Camera Position Issue | CCTV | Class B | 2022-10-15 09:24 | 2022-10-17 12:24 |  |  |  | MX Electronics Pvt Ltd | PO Released | 32 | 2022-11-08 09:57 | 18
MAFIL_358333 | 3242 | BELTOLA TINALI | panel project phase 2\\ Zone18 Not used | Wireless Panic Switch BH Not Working | Alarm Panel | Class B | 2022-10-15 10:55 | 2022-10-15 17:24 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 33 | 2022-11-08 10:06 | 5
MAFIL_358415 | 3895 | OLD MALDA | CAMERA AND MONITOR NOT IN NETWORK All camera not working due to earthing Issue.BH 358512 515916311029 | Center Camera Not In network | CCTV | Class B | 2022-10-15 19:00 | 2022-10-18 16:21 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | Civil Maintenance | 30 | [5 empty] | 2022-10-15 19:00 | CAMERA AND MONITOR NOT IN NETWORK
MAFIL_359317 | 1449 | SATHUPALLY | Camera Not In network\\ WIP BH-354130 network port issue IT complaint raised IN-359337 // MAFIL_359337 | Center Camera Not In network | CCTV | Class B | 2022-10-16 23:39 | 2022-10-17 10:40 |  |  |  | Enseigner Pvt Ltd | Network Issue | 33
MAFIL_359350 | 3699 | BONGAIGAON | panel project phase 2//Zone 17&18 not used | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-17 11:29 | 2022-10-18 17:03 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 30 | 2022-11-08 10:07 | 5
MAFIL_359351 | 3725 | AMINGAON | panel project phase 2//Zone 18 not used | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-17 11:31 | 2022-10-18 17:03 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 30 | 2022-11-08 10:06 | 5
MAFIL_359363 | 2666 | PAIKA | center camera need 64 GB sd card | Center Camera SD Card Failure | CCTV | Class B | 2022-10-17 12:17 | 2022-10-18 17:04 |  |  |  | MX Electronics Pvt Ltd | PO Released | 30 | 2022-11-17 14:19 | 5
MAFIL_359376 | 2845 | RAJPURA TOWN | Not in network 513507221009 WIP WIP request from vendor/ Branch renovation with confirmation of BH311156 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-17 13:29 | 2022-10-18 17:06 |  |  |  | Techsis Ltd | Renovation/Shifting | 31 | [5 empty] | 2022-10-22 14:41 | Rennovation Branch
MAFIL_359443 | 656 | BAILHONGAL | magnetic sensor not installed//engineer visit date-21/10/2022 | Magnetic Sensor Not Working | Alarm Panel | Class A | 2022-10-17 18:00 | 2022-10-18 16:30 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 31 | 2022-11-08 10:01 |  |  |  |  | 2022-10-17 18:00 | magnetic sensor not installed
MAFIL_359464 | 1105 | NAYAPALLI | panel project phase 2\\ Zone 0 Not used | Smoke Sensor Not Working | Alarm Panel | Class B | 2022-10-18 10:20 | 2022-10-19 17:19 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 29
MAFIL_359526 | 3252 | HUNGUND | HUNGUND BRANCH 3252 ONE SAFE MAGNETIC SENSOR NOT INSTALLED BRANCH OPENING STILL NOW . RHA GULBARGA TARUN KUMAR 8445302011 | Magnetic Sensor Not Working | Alarm Panel | Class A | 2022-10-18 15:30 | 2022-10-19 08:54 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 31 | 2022-11-08 10:08 | 5 |  |  |  | 2022-10-18 15:30 | HUNGUND BRANCH 3252 ONE SAFE MAGNETIC SENSOR NOT INSTALLED BRANCH OPENING STILL NOW . RHA GULBARGA TARUN KUMAR 8445302011
MAFIL_359559 | 2082 | BHAVANI METTUR ROAD | grill gate blocking the view ¦ View not Ok//11608725101 WIP 15 mtr cat6 cabling and conduit required, | Entrance Camera Position Issue | CCTV | Class B | 2022-10-19 00:19 | 2022-10-20 09:39 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 29
MAFIL_359578 | 142 | HARIPAD | Center camera position issue | Center Camera Position Issue | CCTV | Class B | 2022-10-19 10:36 | 2022-10-20 14:26 |  |  |  | MX Electronics Pvt Ltd | PO Released | 28 | 2022-11-08 10:00 | 14
MAFIL_359591 | 992 | VALLAL PACHAIAPPAN STREET KANCHIPURAM | ZONE3 DISABLE D\ 5570251021 panic switch damage confirme abh 368224 | Panic Switch Wired Safe Cabin Not Working | Alarm Panel | Class B | 2022-10-19 11:38 | 2022-10-20 14:37 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 28
MAFIL_359629 | 67 | IRITTY | NVR monitor not working | Monitor Power Failure | NVR | Class B | 2022-10-19 15:05 | 2022-10-20 14:22 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 28
MAFIL_360672 | 947 | SALIGRAMAM | Need to install panic switch in washroom/ need wash room panic switch/ cable etc. 513507221012 // BH348510 | Panic Switch Wired Washroom Cabin Not Working | Alarm Panel | Class B | 2022-10-20 15:11 | 2022-10-21 14:33 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 27 | [5 empty] | 2022-10-20 15:11 | Need to install panic switch in washroom
MAFIL_360675 | 1222 | HIMMATH NAGAR AHMEDABAD | nvr monitor power failure//Network complaint – IN134390 | Monitor Power Failure | NVR | Class B | 2022-10-20 15:20 | 2022-10-21 14:39 |  |  |  | Techsis Ltd | Network Issue | 27
MAFIL_360678 | 3868 | TUMSAR | safe foot panic switch not working | Foot Panic Switch Not Working | Alarm Panel | Class B | 2022-10-20 15:29 | 2022-10-21 17:32 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | Purchase order need to be Released | 27
MAFIL_360721 | 1537 | MANDIA ROAD | panel project phase 2//Zone 18 not used(Battery issue) 513507291022 Wireless physically damage // BH385920// WIP request from vendor | Wireless Panic Switch BH Not Working | Alarm Panel | Class B | 2022-10-21 10:34 | 2022-10-21 16:14 |  |  |  | Techsis Ltd | PO Released | 27
MAFIL_360745 | 968 | RAJAPURI | center camera sd card failure\\conf ID :514635271041 entrance camera sd card failure\\ WIP BH- 355928 sd card is missing during renovation need to change new sd card | Center Camera SD Card Failure | CCTV | Class B | 2022-10-21 11:48 | 2022-10-21 14:38 |  |  |  | Techsis Ltd | PO Released | 27 | 2022-11-17 14:12 | 13
MAFIL_360759 | 2071 | KESHOPUR DEPOT DELHI | NVR Not In network | NVR Not In network | NVR | Class B | 2022-10-21 12:32 | 2022-10-21 16:24 |  |  |  | Techsis Ltd | Renovation/Shifting | 27
MAFIL_360827 | 411 | BALUSSERY | after renovation -Alarm Battery Complaint\\cash panic \\entrance camera not working need po ABH-311753 | Alarm Battery Complaint | Alarm Panel | Class B | 2022-10-21 16:52 | 2022-10-22 16:01 |  |  |  | MX Electronics Pvt Ltd | PO Released | 26 | 2022-11-08 09:59 | 16
MAFIL_361791 | 440 | ANAKAPALLE | alarm panel not in network//renovation branch\\ conf ID :514635281020 - BH-360285 renovation on going | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-22 10:30 | 2022-10-22 16:02 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 26
MAFIL_361827 | 3844 | ARHAT BAZZAR DEHRADUN | Zone 18 wireless not working 513507221008 WIP request from vendor BH346555 wireless panic switch physically damaged | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-22 14:10 | 2022-10-25 16:31 |  |  |  | Techsis Ltd | PO Released | 23 | 2022-11-08 10:05 | 12
MAFIL_361829 | 2568 | KOLATHUR SALEM | While amc visit found card failed. SD card replaced but network issue in branch .local electrical issue. ABH 378550 515916311026 | OutSide Camera SD Card Failure | CCTV | Class B | 2022-10-22 14:21 | 2022-10-25 16:32 |  |  |  | Zubaid Infotech | Civil Maintenance | 23
MAFIL_361879 | 529 | ALAPUZHA MEDICAL COLLEGE JN | Wireless panicswitch not working | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-22 17:26 | 2022-10-24 16:39 |  |  |  | MX Electronics Pvt Ltd | PO Released | 25 | 2022-11-17 14:11 | 12
MAFIL_362804 | 1425 | KOTGOAN GHAZIABAD | Alarm Panel Not In network/ Branch renovation / BH355395 / 513507291019 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-25 12:18 | 2022-10-25 15:46 |  |  |  | Techsis Ltd | Renovation/Shifting | 24
MAFIL_362805 | 1934 | VINAY NAGAR GWALIOR | Alarm Panel Not In network branch under renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-25 12:20 | 2022-10-25 16:33 |  |  |  | Techsis Ltd | Renovation/Shifting | 24
MAFIL_362885 | 479 | CHENGANNUR | Center Camera Position Issue\\need to change camera position on another side of the wall | Center Camera Position Issue | CCTV | Class B | 2022-10-26 05:51 | 2022-10-28 09:01 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 21
MAFIL_362957 | 502 | PIRAVAM | Need new 64gb Sd card//renovation time missing engineer visit date-26/10/2022 | OutSide Camera SD Card Failure | CCTV | Class B | 2022-10-26 15:21 | 2022-10-27 15:59 |  |  |  | MX Electronics Pvt Ltd | PO Released | 21 | 2022-11-17 14:12
MAFIL_362962 | 1838 | BORING ROAD,PATNA | Wireless Panic Switches Not Working&panic switches | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-10-26 15:40 | 2022-10-26 15:40 | 2022-10-26 15:40 |  |  | Zubaid Infotech | Purchase order need to be Released | 22
MAFIL_362969 | 2620 | KUMARAPURAM | Not in network | Safe Camera is not working | CCTV | Class A | 2022-10-26 16:54 | 2022-10-27 17:10 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 21
MAFIL_363006 | 1426 | PRATHAP NAGAR UDAIPUR | Entrance Camera Position Issue\\Conf ID514635281043- branch entrance camera need to change into out side of the grill .so complaint changed in to wip request from vendor | Entrance Camera Position Issue | CCTV | Class B | 2022-10-27 11:48 | 2022-10-28 08:54 |  |  |  | Techsis Ltd | Purchase order need to be Released | 21
MAFIL_363057 | 1768 | ADARSH COLONY | Alarm Panel Not In network network issue IN-132910 BH-363777 4546011120 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-27 16:40 | 2022-10-28 09:00 |  |  |  | Techsis Ltd | Network Issue | 21
MAFIL_363097 | 315 | CHERUPARAMBATH ROAD KADAVANTHRA | safe and cash room panic switch not working GL1 Panic switch missing after renovation bh-341415 | Panic Switches Not Working | Alarm Panel | Class B | 2022-10-28 09:52 | 2022-10-28 10:16 |  |  |  | MX Electronics Pvt Ltd | PO Released | 21 | 2022-11-08 09:59 | 10
MAFIL_363121 | 1186 | VYTILA | alarm panel not in network//branch under renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-10-28 12:05 | 2022-10-28 12:09 |  |  |  | MX Electronics Pvt Ltd | Renovation/Shifting | 20
MAFIL_363152 | 3728 | JORHAT | panel project phase 2\\ Zone 3,4, and 5 not used Need Aditional cabling | Panic Switches Not Working | Alarm Panel | Class B | 2022-10-28 15:23 | 2022-10-28 15:27 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | PO Released | 20 | 2022-11-17 14:19 | 19
MAFIL_363165 | 651 | EDAKOCHI | Need new sdcard 64 | OutSide Camera SD Card Failure | CCTV | Class B | 2022-10-28 16:34 | 2022-10-31 16:08 |  |  |  | MX Electronics Pvt Ltd | PO Released | 18 | 2022-11-17 14:14 | 11
MAFIL_363170 | 1605 | EACHANARI COIMBATORE | Honeywell Battery Physically damaged Need to replace battery. BH 320645 515916041117 | Alarm Battery Complaint | Alarm Panel | Class B | 2022-10-28 16:45 | 2022-10-29 16:59 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 19 | [5 empty] | 2022-10-28 16:45 | Honeywell Battery damaged
MAFIL_364232 | 251 | AYUR | out side PIR not installed | PIR Sensor Outsid safe room is not Working | Alarm Panel | Class A | 2022-10-29 16:30 | 2022-10-31 16:06 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 18
MAFIL_364262 | 3617 | BHANJNAGAR | Safe Camera is not working ¦ \ Camera Burned ¦ Device damaged image and SR, Explanation from BH attached ¦ Need PO | Safe Camera is not working | CCTV | Class A | 2022-10-30 00:08 | 2022-11-02 17:12 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 16
MAFIL_364319 | 2897 | BAGYANAGAR COLONY,CUDDAPAH | Safe Camera is not in network, Network SWITCH isssue-IN133012 | Safe Camera is not working | CCTV | Class A | 2022-10-30 17:28 | 2022-11-01 14:55 |  |  |  | Enseigner Pvt Ltd | Network Issue | 17
MAFIL_365288 | 1382 | NUAPATNA | not in network\\ conf ID: 514635081113 - WIP branch nvr faulty due to voltage issue, BH-335513 | NVR Not In network | NVR | Class B | 2022-11-01 10:00 | 2022-11-02 14:15 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 15
MAFIL_366417 | 1864 | SONEPATH OLD DC ROAD | Alarm Panel Not In network Branch Rennovation,BH 370109 515916071117 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-02 12:53 | 2022-11-02 13:00 |  |  |  | Techsis Ltd | Renovation/Shifting | 16
MAFIL_366420 | 834 | KODAMBAKKAM | outside camera not working//11608711042 WIP Camera damaged due water seepage, explanation letter received from bh, | OutSide Camera Display Not Clear | CCTV | Class B | 2022-11-02 13:20 | 2022-11-03 16:25 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 14 | [5 empty] | 2022-11-02 13:20 | outside camera not working
MAFIL_366428 | 266 | MACHAVARAM CENTRE | Alarm Panel Not In network//con id : 516953041116 WIP renovation work going on BH 366393complaint changed in to WIP Request from vendor | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-02 13:57 | 2022-11-03 16:22 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 14
MAFIL_366448 | 3235 | JALNA ROAD CHIKHLI | Alarm Panel Not In network 24 Port switch nort working. complaint number IN:134696 BH 88575 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-02 15:11 | 2022-11-04 09:27 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | Network Issue | 14
MAFIL_366454 | 3015 | SIRSA,HARYANA | Not in network ¦ Open by BH349407 / Branch under renovation started 10 days | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-02 15:26 | 2022-11-04 09:29 |  |  |  | Techsis Ltd | Renovation/Shifting | 14
MAFIL_366475 | 145 | PANCHA CENTRE | Alarm Panel Not In network branch renovation BH351578 5147110419 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-02 16:39 | 2022-11-03 16:21 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 14
MAFIL_366516 | 166 | PONNANI EDAPPAL ROAD | renovation addition items need to panic button wireless receiver pir sensor DATE OF VISIT-01/11/2022 | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-11-03 09:21 | 2022-11-04 16:57 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 13
MAFIL_366526 | 757 | ULLAGARAM | Shifted to 2844-MAFIL BRANCH - VANAMPET JN on 27th Oct 22, searching for new building, ref BH empl code BH350776.// mail send to AMC vendor for dismantling of esecurity devices.\\ device dismantled | Alarm Panel Power Failure | Alarm Panel | Class A | 2022-11-03 10:02 | 2022-11-03 10:06 |  |  |  | Zubaid Infotech | Building Owner issue | 15
MAFIL_366542 | 3076 | RAILWAY ROAD SAFIDON | alarm panel and cameras are not installed in branch, Renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-03 11:25 | 2022-11-04 10:05 |  |  |  | Techsis Ltd | Renovation/Shifting | 14 | [7 empty] | 2022-11-03 11:26
MAFIL_366624 | 2907 | PRATHIPADU | All Camera Not Working\\CONF ID:514635091132 - WIP -network switch issue in branch IT CO NO:IN-136845 | Center Camera Not In network | CCTV | Class B | 2022-11-03 17:04 | 2022-11-04 09:58 |  |  |  | Enseigner Pvt Ltd | Network Issue | 14
MAFIL_367478 | 901 | MODEL TOWN | entrance cam not in network\\ conf ID:514635111136 - WIP -entrance camera damaged short circuit issue | Entrance Camera Not In network | CCTV | Class B | 2022-11-04 04:23 | 2022-11-05 11:32 |  |  |  | Techsis Ltd | Purchase order need to be Released | 13
MAFIL_367493 | 464 | MATTANNUR | renovation damage item need to po Hooter Panic Switch 12V 7AH Battery | Panic Switch Wired Safe Cabin Not Working | Alarm Panel | Class B | 2022-11-04 09:51 | 2022-11-05 11:15 |  |  |  | MX Electronics Pvt Ltd | Purchase order need to be Released | 13
MAFIL_367564 | 3560 | MIRZAPUR, U.P | All Camera Not working Network issue in branch BH 363490 Complaint Number:SWITCH ISSUE IN 131687 515916051117 | Center Camera Not In network | CCTV | Class B | 2022-11-04 13:01 | 2022-11-04 13:01 |  |  |  | Techsis Ltd | Network Issue | 13
MAFIL_367590 | 873 | PAHARGANJ | NVR not in network//BH361963 Started renovation Nov- 5th// | Alarm Panel Not In network | NVR | Class A | 2022-11-04 15:16 | 2022-11-05 11:31 |  |  |  | Techsis Ltd | Renovation/Shifting | 13
MAFIL_367642 | 1170 | RAMGANJ AJMER | Alarm Panel Not In network//check all camera | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-05 10:32 | 2022-11-07 16:33 |  |  |  | Techsis Ltd | Renovation/Shifting | 11 | [5 empty] | 2022-11-09 11:29 | Renovation Branch OCTOBER 24 Renovation Started BH-65979
MAFIL_367646 | 3621 | NEHRU PLACE | IN OUR BRANCH NEHRU PLACE 3621 WE HAVE FULLY DAMAGED SHUTTER CENSOR.SOLVE THIS ISSUE ASAP//Bh please share explanation letter dully signed BH/ABH along with Branch seal. | shutter sensor not working properly | Alarm Panel | Class C | 2022-11-05 10:42 | 2022-11-05 17:41 |  |  |  | Techsis Ltd | Purchase order need to be Released | 0 | [5 empty] | 2022-11-05 10:42 | IN OUR BRANCH NEHRU PLACE 3621 WE HAVE FULLY DAMAGED SHUTTER CENSOR. SOLVE THIS ISSUE ASAP
MAFIL_367746 | 2629 | SANTH NAGAR- KANPUR | safe camera IR not working due to water damage BH 326298 515916101121 | Safe Camera IR Not Working | CCTV | Class A | 2022-11-05 18:47 | 2022-11-08 09:34 |  |  |  | Techsis Ltd | Purchase order need to be Released | 11
MAFIL_368773 | 878 | BUXI BAZAR | Wireless Panic Switch BH Not Working // ZONE 17,18 Disabled 513507071114 WIP Wireless panic switch physically damage / BH347016 | Wireless Panic Switch BH Not Working | Alarm Panel | Class B | 2022-11-07 13:05 | 2022-11-08 09:08 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 10
MAFIL_368807 | 639 | M T H ROAD ,VILLIVAKKAM CHENNAI | Center Camera Not In network branch under renovation BH-355139 5147110905 | Center Camera Not In network | CCTV | Class B | 2022-11-07 15:36 | 2022-11-08 16:04 |  |  |  | Zubaid Infotech | Renovation/Shifting | 9
MAFIL_368843 | 960 | WAGHODIA ROAD | 2 panic switch removed from branch because of renovation work 03 and 07 fault showing both zones disabled | Panic Switches Not Working | Alarm Panel | Class B | 2022-11-07 17:41 | 2022-11-08 16:12 |  |  |  | Techsis Ltd | Renovation/Shifting | 9
MAFIL_368858 | 2705 | THIRUKOVILLUR | cash cabin panic switch damaged PANIC SWITCH PHISICALLY DAMEGED Need to replace BH 358612 c id :516953091102 | Panic Switch Wired Cash Cabin Not Working | Alarm Panel | Class B | 2022-11-07 18:44 | 2022-11-08 09:42 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 10 | [5 empty] | 2022-11-07 18:44 | cash cabin panic switch damaged
MAFIL_369968 | 1161 | THURAIYUR | 7AH battery found damaged after renovation. Wired Expander faulty ¦ Alarm battery burned ¦ Wireless receiver Faulty ¦ Center SD card error after renovation need All PO ¦ SR attached 515739111810 | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-11-09 16:15 | 2022-11-14 11:54 |  |  |  | Zubaid Infotech | WIP request from Vendor Engineer | 5
MAFIL_370933 | 3534 | BOLPUR WEST BENGAL | panel project phase 2 \\ zone 18 not working | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-11-10 10:34 | 2022-11-11 17:21 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | Purchase order need to be Released | 6
MAFIL_370977 | 1601 | BOBBILI | fault 03 \\zone 03 disabled renovation | Panic Switch Wired BH Cabin Not Working | Alarm Panel | Class B | 2022-11-10 13:26 | 2022-11-11 09:30 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 7
MAFIL_371016 | 2878 | POOKKOTTUPADAM | wired panic switch gl1 cabin physically damaged while audit checking BH-379558 zone disabled | Panic Switch Wired GL Cabin Not Working | Alarm Panel | Class B | 2022-11-10 15:18 | 2022-11-11 17:25 |  |  |  | MX Electronics Pvt Ltd | PO Released | 6
MAFIL_371039 | 2213 | RED HILLS CHENNAI | Alarm Panel Not In network\\Branch Rennovation 10-11-22 BH 344824 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-10 17:02 | 2022-11-12 17:32 |  |  |  | Zubaid Infotech | Renovation/Shifting | 5
MAFIL_371046 | 389 | AMRITSAR | Alarm Panel Not In network branch renovation bh-371996 5147111605 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-10 17:21 | 2022-11-14 11:31 |  |  |  | Techsis Ltd | Renovation/Shifting | 5
MAFIL_371048 | 1239 | LAL BENGLA | Alarm Panel Not In network MAFIL_371048 WIP BRANCH Renovation \alarm panel not in network, Documents attached con id: 516953141115 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-10 17:24 | 2022-11-10 17:25 |  |  |  | Techsis Ltd | Renovation/Shifting | 7
MAFIL_371052 | 2249 | ROURKELA,ORISSA | Vibration Sensor Not Working. zone 09 disabled Network Issue In branch complaint number:IN 138923 bh 352859 515916171118 | Vibration Sensor Not Working | Alarm Panel | Class B | 2022-11-10 17:32 | 2022-11-12 17:33 |  |  |  | Zubaid Infotech | WIP request from Vendor Engineer | 5
MAFIL_371065 | 3577 | PRATAPGARH UP | ref AMC Ticket MAFIL_367703//Monitor damaged due acid corrosion//Bh/Abh \\conf ID:514635151104- NVR monitor damaged due to the presence of acid near the monitor BH-358956 | Monitor Display Not Clear | NVR | Class B | 2022-11-11 09:20 | 2022-11-12 08:49 |  |  |  | Techsis Ltd | Purchase order need to be Released | 6
MAFIL_371165 | 1024 | DADAPATILWADI, THANE | wireless panic switch totally damage so please raised the compliant Physical damage ¦ cleaning staff ¦ Explanation, SR, device image attached ¦ Need PO 515739111146 | Wireless Panic Switch Guard Not Working | Alarm Panel | Class B | 2022-11-11 16:12 | 2022-11-14 11:49 |  |  |  | CHUBB SYSTEMS PRIVATE LIMITED | WIP request from Vendor Engineer | 5
MAFIL_372138 | 2925 | FATEHABAD | Alarm Panel Not In network under renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-12 10:47 | 2022-11-12 10:47 |  |  |  | Techsis Ltd | Renovation/Shifting | 6
MAFIL_372139 | 1900 | VEERAGANUR SALEM | Alarm Panel Not In network under renovation | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-12 10:50 | 2022-11-12 10:51 |  |  |  | Zubaid Infotech | Renovation/Shifting | 6
MAFIL_372147 | 2557 | BYPASS ROAD TIRUTTANI | magnetic door sensor not installed need to install safe room main door//116087111205 WIP Magnetic sensor required for strong room door, no locker in this branch//BH34038. | Magnetic Sensor Not Working | Alarm Panel | Class A | 2022-11-12 11:25 | 2022-11-12 11:40 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 6
MAFIL_372156 | 776 | PALAM COLONY | panic switch wash room damage // PO RELEASED BH 349695 documents attached conformation id 516953151137 | Panic Switch Wired Washroom Cabin Not Working | Alarm Panel | Class B | 2022-11-12 11:59 | 2022-11-14 11:38 |  |  |  | Techsis Ltd | WIP request from Vendor Engineer | 5 | [5 empty] | 2022-11-12 11:59 | wash room panic switch damage
MAFIL_372176 | 1250 | VELLAKINNAR | Alarm Panel Not In network ups back up issue IN137258 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-12 12:56 | 2022-11-12 12:57 |  |  |  | MX Electronics Pvt Ltd | Network Issue | 5
MAFIL_372207 | 2645 | RAJIV GANDHI NAGAR | Not in network ¦ Outside & Entrance camera not in network ¦ cable cut need 15 meter cable ¦ Rat cut ¦ SR and image Attached ¦ ABH 372236 515739111631 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-12 15:25 | 2022-11-12 17:32 |  |  |  | Zubaid Infotech | Purchase order need to be Released | 5
MAFIL_372225 | 2380 | JALAHALLI | Vibration Sensor Not Working&nvr monitor also notworking | Vibration Sensor Not Working | Alarm Panel | Class B | 2022-11-12 16:48 | 2022-11-12 16:48 | 2022-11-12 16:49 |  |  | CHUBB SYSTEMS PRIVATE LIMITED | Purchase order need to be Released | 5
MAFIL_373216 | 312 | SUBRAMANIAPURAM TRICHY | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 11:17 | 2022-11-14 11:17 | 2022-11-14 11:18 |  |  | Zubaid Infotech | Renovation/Shifting | 5
MAFIL_373229 | 1278 | AKKAYAPALAM VISAKHAPATNAM | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 11:54 | 2022-11-14 11:55 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 5
MAFIL_373235 | 1888 | GOLDEN GEORGE NAGAR | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 12:10 | 2022-11-14 12:10 |  |  |  | Zubaid Infotech | Renovation/Shifting | 4
MAFIL_373240 | 3942 | YOL CANTT | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 12:29 | 2022-11-14 13:01 |  |  |  | Techsis Ltd | Renovation/Shifting | 4
MAFIL_373241 | 2967 | NEHRU PARK ,BAHADURGARH | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 12:32 | 2022-11-14 12:33 |  |  |  | Techsis Ltd | Renovation/Shifting | 4
MAFIL_373245 | 215 | GUNTUR | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 12:40 | 2022-11-14 12:41 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 4
MAFIL_373248 | 2293 | RAMARAOPETA | Alarm Panel Not In network//116087111515 WIP Network slowness now okay,bh345240 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 12:49 | 2022-11-14 12:50 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 4
MAFIL_373251 | 485 | POORNAMARKET | Alarm Panel Not In network | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-14 12:56 | 2022-11-14 12:56 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 4
MAFIL_373339 | 2123 | PULLAMPADI TRICHY | fault 3 ¦ GL & Cash Panic not working Renovation Branch ¦ BH 359751 Confirmed Safe & entrance Camera not working | Panic Switches Not Working | Alarm Panel | Class B | 2022-11-15 09:51 | 2022-11-15 12:21 |  |  |  | Zubaid Infotech | WIP request from Vendor Engineer | 2
MAFIL_373356 | 316 | KOTA CENTRE | bh349518// renovation started on nov 7th // esec quote not received from vendor// | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-15 10:55 | 2022-11-15 16:59 |  |  |  | Enseigner Pvt Ltd | Renovation/Shifting | 3 | [7 empty] | 2022-11-15 11:11
MAFIL_373439 | 1689 | KATADHAN | Panel not in network\5570171104 rat cut all cables need recabling BH 349362 | Alarm Panel Not In network | Alarm Panel | Class A | 2022-11-15 16:59 | 2022-11-16 16:30 |  |  |  | Enseigner Pvt Ltd | WIP request from Vendor Engineer | 2
MAFIL_373509 | 2711 | PEHOWA | NVR Monitor Brightness' issue - MAFIL_372143 // 513507161109 WIP BH360291 Burning issue in monitor | NVR moniter brightness issue | NVR | Class B | 2022-11-16 13:18 | 2022-11-16 16:43 |  |  |  | Techsis Ltd | Purchase order need to be Released | 1 | [5 empty] | 2022-11-16 13:19 | 513507161109 WIP BH360291 Burning issue in monitor MAFIL_372143
MAFIL_373548 | 2033 | DILSHAD COLONY | while PMC checking tech find out that one wireless panic switch not working 05 disabled\\ confid: 514635161138 -WIP - wireless panic switch damaged | Wireless Panic Switches Not Working | Alarm Panel | Class B | 2022-11-16 15:35 | 2022-11-17 17:32 |  |  |  | Techsis Ltd | WIP request from Vendor Engineer | 0
MAFIL_373967 | 646 | BARRACKPORE | while doing pmc technician found bh and gold panic switch not working . Need to chnage cable bh 352052 | Panic Switches Not Working | Alarm Panel | Class B | 2022-11-18 14:14 |  |  |  |  | Not Assigned | WIP request from Vendor Engineer | 0 | [7 empty] | 2022-11-18 14:17